| FPI Number |  | Location |  |
| --- | --- | --- | --- |
| Project |  | Platform |  |

| Unit | Sound Velocity Profiler |  | Multibeam Echosounder |  | Surface Sound Velocity Sensor |  |
| --- | --- | --- | --- | --- | --- | --- |
| Brand |  |  |  |  |  |  |
| Model |  |  |  |  |  |  |
| Serial No |  |  |  |  |  |  |
| Date of Last Sensor Calibration by Manufacturer | SV | MM/DD/YYYY | Power Level | dB | Sensor Draft | dB |
|  | P | MM/DD/YYYY | Pulse Length | ms | SV at Sensor Draft | m/s |
|  | T | MM/DD/YYYY | Ping Rate | Hz | Ping Rate | Hz |

| Initial Sound Velocity | 1,500 m/s (set at echosounder to measure final draft) |  |  |  |
| --- | --- | --- | --- | --- |
| Measured Draft From draft making | m | Final Draft |  | m |
| Draft Tolerance depth accuracy from echosounder specification | m | Final Draft SV |  | m/s |
| SVP File Name |  |  |  |  |
| Bar Depth (m) | Echosounder Center Beam Depth Reading (m) Allowable tolerance = +/- 0.10 m |  | Sound Velocity Value (SV Profiler) |  |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| Notes |  |  |  |  |
| Recommendations |  |  |  |  |

| Prepared by: |  |  | Survey Officer | MM/DD/YYYY |
| --- | --- | --- | --- | --- |
|  | Name | Signature | Designation | Date |
| Checked by: |  |  | CSO / CFST | MM/DD/YYYY |
|  | Name | Signature | Designation | Date |